## Slide 1: Determination of the electron charge using the Millikan oil drop method
Robert Lin, Kun Leng
Advanced Physics Laboratory, Physics 3081, Fall 2014

## Slide 2: Experimental setup
V
From atomizer
Camera
D

## Slide 3: Theoretical background
Stoke’s Law
Terminal velocity free fall
Get droplet radius and drag constant in terms of Vg, the measured quantity
(1)
(2)
(3)
(4)
(5)
(6)
a
Fg
Fd
Fb

## Slide 4: Theoretical background
Terminal velocity under electric field
Substitute in Fg-Fb from (2)
Rearrange
Substitute in E=D/V and k from (6)
(7)
(8)
(9)
(10)
Fg
FE
Fb
a
Fd
E

## Slide 5: Theoretical background
(10) is inaccurate for droplets with radii comparable to mean free path between air molecules due to failure of Stoke’s Law. Since the droplet in fact experiences a drag force that is much smaller than that predicted by Stoke’s Law, using the measured value of vg and vE overestimates q.
Millikan’s correction factor
Obtain successive approximations of true droplet radius
Plug in true droplet radius into k1 and correct vg and vE in (10)
(11)
(12)
(11)

## Slide 6: Measurement taking
Calibrate markings on monitor.
Spray oil droplets into capacitor chamber using atomizer.
Screen for droplets of proper size and charge.
Measure time tg required to travel a certain number of increments under free fall.
Measure time tE required to travel the same number of increments in the opposite direction under application of electric field.
Repeat measurements. At least two independent measurements of tg and tE are made for each droplet.

## Slide 7: Results
Plateaus of charge measurements are observed
Indicate that charge is quantized

## Slide 8: Determining the Charge Quantum
The droplets in each of the first five plateaus were used as estimates of the charges due to 1, 2, 3, 4 and 5 charge quanta
The maximum likelihood principle was used to calculate charge means and uncertainties for each plateau
  Individual droplet charges belonging to the same plateau were weighted in the plateau average and uncertainty as follows, assuming a normal distribution:

## Slide 9: Charge Values for the 1st Five Plateaus

## Slide 10: Value of a Single Charge Quantum
Maximum likelihood principle was again used
  The normalized charge values were weighted according to the normalized uncertainties, yielding

## Slide 11: Comparison with Actual Electron Charge

## Slide 12: Error Analysis
Relative uncertainties in calculated droplet charges are ~10-20%
Major contributors are
  Relative error in the distance measurement (contributes ~10-15%)
  Relative error in the timing measurement (contributes anywhere from 1 to 11%)
Future experiments can reduce the relative uncertainty by
  calibrating distance markings
  performing trials over a longer distance

## Slide 13: Possible systematic error
Noticeable drift in the horizontal direction occurred during many of the trials
May be due to the photon-induced pressure from the illuminating lamp
May be a biasing factor
  direction of the drag force is affected
  terminal velocity may be different

## Slide 14: Conclusion
It is significant that an undergraduate laboratory using the Millikan oil drop experiment can obtain a value of charge quantization within 0.26% of the actual value
This result demonstrates the remarkable simplicity and ingenuity of the setup proposed by Millikan

## Slide 15: Bibliography
Millikan, R. A. On the Elementary Electrical Charge and the Avogadro Constant. Phys. Rev., 32, pp. 349-397, 1911.
Maximum likelihood. WolframMathWorld. http://mathworld.wolfram.com/MaximumLikelihood.html